# Suspension-trapping (S-Trap) sample processing

Context: This protocol is adapted from the Protifi S-Trap Mini protocol1 (v4.1) with adjustments from the Ka Wan Li lab2, who also benchmarked the use of generic DNA Miniprep spinfilters and protein amounts down to 0.3 µg. Effectively, this protocol works with protein amounts from 300 µg down to 0.3 µg. This OPL protocol describes processing 10 µg protein in a sample volume of 50 µL, scaling this up or down is discussed under Scaling.

Please study the Protifi S-Trap Mini protocol1 before executing this protocol, as it contains detailed instructions, sample type recommendations and troubleshooting not discussed here.

Schematic overview of protein suspension trapping workflow1

## Sample preparation protocol

Note: All steps on day 1 should be done in a flow cabinet to prevent keratin contamination. Book the flow cabinet in advance. Use the solutions and buffers supplied by OPL lab and only open them in the flow cabinet while wearing gloves. 	

Note: After preparing the lysate, also run 5-20 µg protein on SDS-PAGE gel to visualize the sample protein content using Coomassie. Include the result in the PrOEF file. This is important to assess the quality and content of the sample.	

Solutions to be prepared can be found in Table 1.

# Day 1: Sample lysis and digestion

In case of precipitated protein, cell pellets or tissue: Lyse in 1X lysis buffer by vortexing thoroughly (10-20s). Sonicate the samples if viscosity is observed due to release of DNA. 
In case of liquid samples: add an equal volume of 2X lysis buffer.

- Using SDS + sonication is a harsh and universal method of denaturing and dissolving proteins.
If you have a preferred lysis buffer/method for your sample type, discuss the compatibility with us and see the Protifi protocol1 for recommendations.

- SDS precipitates at low temperatures, so add room-temperature lysis buffer to (cold) samples, vortex thoroughly and vortex every so often while the material comes to room temperature.

If the samples are viscous due to DNA, shear the DNA by sonication using either: 
The Branson cuphorn sonicator (CCA 1-59) for small volumes (<200 µL), or
The Fisher p120 probe sonicator (CCA 1-35) for large volumes (>200 µL). Recommended settings:
 	Cuphorn: 1X20s pulse for cuphorn sonication (on ice, program 1) 
 	Probe: 5X1s pulse, 2s off, 20% amplitude (on ice)

If needed, spin down insoluble material (5 min, 10,000 g) and transfer supernatant to new tube.

- However, the insoluble pellet may contain proteins of interest, so only include this step if there is a large amount of debris that may block the filter.

Check the protein concentration by BCA assay and normalize using 1X lysis buffer.

- This is very important to determine the amount of protein processed. Let us know the amount of protein in the samples. This protocol is written for 10 µg of protein in 50 µL volume, to adjust see Scaling

- SDS interferes with the BCA assay, so add the same volume of 1X lysis buffer to the BSA calibration curve as the volume of the tested samples. Add MQ to the sample wells to get equal volume in all wells.

- Note: If you have sufficient material, run 5-20 µg on SDS-PAGE gel to visualize the protein content with Coomassie. This is important to assess the quality and content of the sample and spot any issues early. Include the result in the PrOEF file.

- Pauze point: Samples may be frozen at this point at -80 °C.

Reduce: Add 5 µL DTT (5 mM final) and incubate at 65 °C for 15 min, then let the samples cool.

Alkylate: Add 5 µL IAA (10 mM final) and incubate at room temperature in the dark for 15 min

Acidify: Add 5.5 µL acidifier (1.1% phosphoric acid final) and vortex.

- The pH should be <1. When running a sample type for the first time, check the pH by spotting 0.5-1 µL on universal pH paper (bench).

Add 400 µL binding/wash buffer to the sample and vortex.

- This precipitates the protein and particulates may become visible. Do not spin down.

- The entire sample must be transferred to the S-Trap. Mix by vortexing or pipetting before transfer.

Transfer the sample to the S-Trap column sitting in its accompanying 2 mL tube.

- Transfer all sample including anything insoluble to the S-Trap.

- For larger sample volumes, transfer in multiple steps of <500 µL.

Centrifuge the S-Trap column for 1-2 minutes at 1,400 g to trap proteins.

- Close the caps of before taking out of the flow cabinet.

Wash the protein sample by adding 400 µL binding/wash buffer and centrifuging for 
1-2 minutes at 1,400 g. 
Repeat 3 times for four total washing steps and discard the flowthrough after every step. 
Make sure all liquid is passed through after centrifuging.

After the last washing step, centrifuge the S-Traps once more for 1 minute at 1,400 g to fully remove liquid.

Transfer S-Trap columns to a clearly labeled 1.5 mL low-binding Eppendorf tube.

Digestion: Add 50 µL digestion solution to the S-Trap. Calculate the amount of trypsin needed to obtain a 1:10 trypsin-to-protein ratio and make the digestion solution correspondingly. Do not use less than 0.1 µg trypsin. Do not close the caps.

- Apply the digestion solution directly above the trapping matrix. If the solution is not applied evenly, tap the tubes on the table. When that fails, spin down briefly and re-apply the flowthrough.

Place the S-Traps with open caps in a white box containing wet tissues (Figure 1). 
Close the box so that the lid will push slightly on the S-Trap caps.

Place the box in the waterbath on a rack so that the box is above the water. (Figure 2). 
Set the waterbath temperature to 40 °C, which will result in an internal temperature of 37 °C in the S-Trap box. Set the shaking to its lowest setting (20 RPM).

- The digestion can also be performed at 47 °C (waterbath at 50 °C) for 2-4h for comparable results (Figure 4)

# Day 2: Peptide collection and storage

Take the box out of the incubator, remove condensation on the outside using a tissue and open in the flow cabinet. Close the caps and centrifuge the samples for 1 min at 1,400 g to collect the digested peptides in the low-bind tube.

- Place the tubes in the centrifuge with the open lids facing inward (Figure 3).

Add 75 µL of 0.1% FA in water and centrifuge the samples at 1 min at 1,400 g.

Add 75 µL of 0.1% FA in ACN and centrifuge the samples at 1 min at 1,400 g.

Concentrate the peptides to dryness in a Speedvac at 45 °C (2-3h).

Store the dry peptides at – 20 °C in a marked box.

## Required materials (Table 1)

| Reagents/materials | Composition | Storage (See S-Trap drawer) |
| --- | --- | --- |
| 1X lysis buffer | 5% SDS, 50 mM Tris pH 8.0 Make by diluting 2X lysis buffer 1:1 with MQ. | Prepare fresh |
| 2X lysis buffer | 10% SDS (cat. #71729), 100 mM Tris pH 8.0 | OPL lab, 1 year at rt |
| Reductant | 55 mM DDT (cat. #D9163) in MQ. Dissolve 8.5 mg DTT in 1 mL MQ | Prepare fresh Refrigerator 1 |
| Alkylator | 120 mM IAA (cat. #I1149) in MQ. Dissolve 22.2 mg IAA in 1 mL MQ. Keep in the dark as IAA is light-sensitive | Prepare fresh Refrigerator 1 |
| Acidifier | Phosphoric acid (cat. #1.00573.1000) diluted to 12% with MQ | OPL lab, 1 year at rt |
| Tris stock | 1 M Tris pH 8.0 (cat. #1.08382.0500), adjusted with HCl | OPL lab, 6 months at rt 100 mL bottle and 1.5 mL aliquots in 15 mL tubes |
| Binding/wash buffer | 100 mM Tris pH 8.0 in 90% methanol Make by diluting the above 1M Tris stock 10X in methanol (LCMS grade, Biosolve cat. #136878). | Prepare fresh For small amounts: take one of the 1.5 mL Tris aliquots and fill tube up to 15 mL with methanol. |
| ABC solution | 50 mM ammonium bicarbonate in MQ Dissolve 39.5 mg ABC in 10 mL MQ. | Prepare fresh |
| Digestion solution | Sequencing grade trypsin (Promega cat. #V5111) in ABC. Dissolve lyophilized trypsin (freezer 4) so that 50 µL of solution contains trypsin in a ratio of 1:10 (w/w) to your protein sample. For example, 10 µg sample requires 1 µg trypsin, so dissolve one 20 µg vial in 1000 µL ABC, giving 1 µg trypsin per 50 µL. | Prepare fresh |
| 0.1% FA in water | 0.1% formic acid in water (ULCMS grade, Biosolve cat. #069141 and #232141) | OPL lab, 6 months at rt Bench, 250 mL bottle |
| 0.1% FA in ACN | 0.1% formic acid in acetonitrile (ACN) (ULCMS grade, Biosolve cat. #069141 and #012078) | OPL lab, 6 months at rt Bench, 250 mL bottle |
| MQ | MilliQ water tapped from Purelab Flex (CCA 1-41). Bottle labeled "MQ" | OPL lab, 1 year at rt Bench |
| Low-bind tubes | Eppendorf 1.5 protein low-binding tubes (cat. #0030108.116) | OPL lab |
| S-Trap columns | Plasmid DNA microspin column (HiPure, Magen Biotechnology) | OPL lab |

## Scaling (Table 2)

| Sample | 1X lysis buffer (µL) | 2X lysis buffer (µL) | Reductant/ alkylator (µL) | Acidifier (µL) | Binding/wash buffer (µL) |
| --- | --- | --- | --- | --- | --- |
| Pelleted cells | 50 | — | 5 | 5.5 | 400 |
| Protein pellet | 50 | — | 5 | 5.5 | 400 |
| 15 µL liquid | — | 15 | 3 | 3.3 | 240 |
| 30 µL liquid | — | 30 | 6 | 6.6 | 480 |
| 50 µL liquid | — | 50 | 10 | 11 | 800 |
| 100 µL liquid | — | 100 | 20 | 22 | 1600 |

Scaling down 	
If you are processing 1 µg of protein or less, lower the trypsin amount to 0.1 µg per sample, which is the lower limit. If you’re unable to determine the protein concentration, let us know so we can discuss the right approach.

Scaling up	
When scaling up the amount of protein processed, you only have to increase the amount of trypsin in the digestion buffer, all volumes can remain the same.

However, when working with a different starting volume than 50 µL sample (e.g. very diluted samples), some steps need to be adjusted (Table 2): 	
For reduction and alkylation, the amount of reagent is always 5 µL per 50 µL sample volume.	  
For acidification, the amount of acidifier is always 5.5 µL per 50 µL sample volume. 	
For adding binding/wash buffer, the amount of binding/wash buffer added is at least 6X the sample volume, up to 9X (initial volume plus other reagents)

If you want to follow this protocol without adjustment (10 µg protein, 50 µL lysate volume): 
Try to aim between 0.3 and 2 mg/mL protein during lysis, determine protein concentration using BCA and make samples for proteomics by diluting to 0.2 mg/mL with 1X lysis buffer. Store the (concentrated) leftover lysate at -80 °C.

## Figures

Figure 1: S-Traps with open caps in box. 
Figure 2: Closed box in incubator.  	Figure 3: Orientation of S-Traps in low-bind tubes.

Figure 4: Digestion temperature result.

References

https://files.protifi.com/protocols/s-trap-mini-long-4-1.pdf

Thanou, E., Koopmans, F., Pita-Illobre, D., Klaassen, R. V., Özer, B., Charalampopoulos, I., ... & Li, K. W. (2023). Suspension TRAPping Filter (sTRAP) Sample Preparation for Quantitative Proteomics in the Low µg Input Range Using a Plasmid DNA Micro-Spin Column: Analysis of the Hippocampus from the 5xFAD Alzheimer’s Disease Mouse Model. Cells, 12(9), 1242.